**Heating Ventilation Air Conditioning Systems**

**Table of contents for the report**

**Academic Year 2022-2023**

1. **General data of the dwelling**
2. Description of the house
3. Drawing of the house and subdivision of the rooms
4. General data on the climatic conditions and U-values assumed
5. **Peak load for heating**
6. Synthetic description of the equations used for determining Ht e Hv
7. Results (it is possible to insert some evaluations/comments on the specific energies so as to check the results)
8. **Net energy demand for heating with the simplified method**
9. Synthetic description of the equations used for the calculation
10. Results, including the specific energy demand in kWh/(m2 year)
11. **Net energy demand for DHW**
12. Synthetic description of the equations used for the calculation
13. Results, including the specific energy demand in kWh/(m2 year)
14. **Peak load calculation for DHW**
15. Synthetic description of the tank system used (direct, indirect, etc.)
16. Results, in particular the peak power and the volume
17. **Cooling load calculation**
18. Synthetic description of the approach
19. Description of the hypotheses used
20. Results (show the diagrams to see the different contribution of the balance calculation)
21. **Sizing of the air duct system**
22. Sketch of the distribution system supply and recirculation line
23. Description of the hypotheses used (including particular elements)
24. Results (flow rates, ducts size, pressure drop coefficients, etc) and critical comments
25. **Sizing of the radiant floor system**
26. Geometrical characteristics of the identified system used for the calculation
27. Choice of circuits, pipes spacing and working operating conditions
28. Pressure drops calculation
29. **Sizing of a mixing valve**
30. Sketch of the distribution system
31. Description of the hypotheses used
32. Results
33. **Sizing of the heat pump**
34. Peak power for heating + peak power for DHW + defrost cycles