Heating Ventilation Air Conditioning Systems

Table of contents for the report

Academic Year 2022-2023

- General data of the dwelling

- Description of the house

- Drawing of the house and subdivision of the rooms

- General data on the climatic conditions and U-values assumed

- Peak load for heating

- Synthetic description of the equations used for determining Ht e Hv

- Results (it is possible to insert some evaluations/comments on the specific energies so as to check the results)

- Net energy demand for heating with the simplified method

- Synthetic description of the equations used for the calculation

- Results, including the specific energy demand in kWh/(m2 year)

- Net energy demand for DHW

- Synthetic description of the equations used for the calculation

- Results, including the specific energy demand in kWh/(m2 year)

- Peak load calculation for DHW

- Synthetic description of the tank system used (direct, indirect, etc.)

- Results, in particular the peak power and the volume

- Cooling load calculation

- Synthetic description of the approach

- Description of the hypotheses used

- Results (show the diagrams to see the different contribution of the balance calculation)

- Sizing of the air duct system

- Sketch of the distribution system supply and recirculation line

- Description of the hypotheses used (including particular elements)

- Results (flow rates, ducts size, pressure drop coefficients, etc) and critical comments

- Sizing of the radiant floor system

- Geometrical characteristics of the identified system used for the calculation

- Choice of circuits, pipes spacing and working operating conditions

- Pressure drops calculation

- Sizing of a mixing valve

- Sketch of the distribution system

- Description of the hypotheses used

- Results

- Sizing of the heat pump

- Peak power for heating + peak power for DHW + defrost cycles