## Fluorescence 1_01
Measurement results
TMRM_students1.skax
04/06/2024 18.51.20
Fluorescence 1
Ex 548 nm, Em 573 nm
Plate 1
Reading | avg. time [s] | Un0001 (A01) | Un0008 (A02) | Un0015 (A03) | Un0022 (A04) | Un0029 (A05) | Un0036 (A06) | Un0043 (A07) | Un0050 (A08) | Un0057 (A09) | Un0064 (A10) | Un0002 (B01) | Un0009 (B02) | Un0016 (B03) | Un0023 (B04) | Un0030 (B05) | Un0037 (B06) | Un0044 (B07) | Un0051 (B08) | Un0058 (B09) | Un0065 (B10) | Un0003 (C01) | Un0010 (C02) | Un0017 (C03) | Un0024 (C04) | Un0031 (C05) | Un0038 (C06) | Un0045 (C07) | Un0052 (C08) | Un0059 (C09) | Un0066 (C10) | Un0004 (D01) | Un0011 (D02) | Un0018 (D03) | Un0025 (D04) | Un0032 (D05) | Un0039 (D06) | Un0046 (D07) | Un0053 (D08) | Un0060 (D09) | Un0067 (D10) | Un0005 (E01) | Un0012 (E02) | Un0019 (E03) | Un0026 (E04) | Un0033 (E05) | Un0040 (E06) | Un0047 (E07) | Un0054 (E08) | Un0061 (E09) | Un0068 (E10) | Un0006 (F01) | Un0013 (F02) | Un0020 (F03) | Un0027 (F04) | Un0034 (F05) | Un0041 (F06) | Un0048 (F07) | Un0055 (F08) | Un0062 (F09) | Un0069 (F10) | Un0007 (G01) | Un0014 (G02) | Un0021 (G03) | Un0028 (G04) | Un0035 (G05) | Un0042 (G06) | Un0049 (G07) | Un0056 (G08) | Un0063 (G09) | Un0070 (G10)
1 | 0 | 15.65 | 16.11 | 16.95 | 17.07 | 16.91 | 15.6 | 16.93 | 17.48 | 17.62 | 10.13 | 16.47 | 16.36 | 17.04 | 16.52 | 17.4 | 16.05 | 16.95 | 17.66 | 17.6 | 17.49 | 16.88 | 17.52 | 18.06 | 17.39 | 17.42 | 17 | 16.98 | 17.02 | 17.26 | 17.32 | 8.061 | 17.04 | 17.63 | 18.01 | 18.07 | 17.03 | 17.74 | 17.77 | 10.23 | 14.85 | 16.55 | 17.55 | 17.53 | 17.64 | 17.82 | 16.33 | 17.34 | 16.92 | 16.99 | 16.67 | 16.44 | 19.16 | 17.98 | 11.48 | 10.58 | 16.43 | 17.01 | 17.26 | 16.39 | 17.01 | 16.01 | 17.03 | 17.09 | 16.68 | 17.43 | 15.29 | 16.9 | 16.15 | 16.56 | 16.65
2 | 17.64 | 16.08 | 16.54 | 16.99 | 17.09 | 17.03 | 15.48 | 17.19 | 17.53 | 17.61 | 10.43 | 16.47 | 16.01 | 16.59 | 17.01 | 17.59 | 15.81 | 17.56 | 17.42 | 17.73 | 17.17 | 16.73 | 17.97 | 17.51 | 17.34 | 17.92 | 16.88 | 17.33 | 16.7 | 17.1 | 17.54 | 8.122 | 16.83 | 17.86 | 17.5 | 17.99 | 17.2 | 17.99 | 17.85 | 10.17 | 14.82 | 16.92 | 17.24 | 17.56 | 17.74 | 17.93 | 15.72 | 17.05 | 16.97 | 16.94 | 16.44 | 16.61 | 18.75 | 18.01 | 11.7 | 10.52 | 16.53 | 16.94 | 16.62 | 16.56 | 16.89 | 15.79 | 17.12 | 17.28 | 17.17 | 17.74 | 15.59 | 16.56 | 16.32 | 16.39 | 17.12
3 | 35.28 | 16.27 | 16.39 | 16.64 | 17.47 | 17.63 | 15.74 | 17.28 | 17.6 | 17.85 | 10.21 | 16.29 | 16.35 | 17.29 | 16.88 | 17.46 | 15.75 | 17.37 | 17.33 | 17.78 | 17.33 | 16.75 | 17.68 | 17.53 | 17.68 | 17.53 | 16.7 | 17.17 | 17.29 | 17.09 | 17.1 | 7.922 | 16.76 | 17.85 | 17.99 | 18.04 | 17.06 | 17.79 | 17.74 | 10.21 | 14.88 | 16.87 | 17.38 | 17.59 | 18.15 | 17.54 | 15.83 | 17.01 | 17.11 | 16.72 | 16.65 | 16.53 | 18.99 | 18.02 | 11.51 | 10.78 | 15.97 | 16.58 | 16.79 | 16.89 | 17.04 | 15.7 | 17.14 | 17.41 | 16.97 | 17.08 | 15.44 | 16.58 | 16.39 | 16.6 | 16.7
4 | 52.93 | 15.98 | 16.07 | 16.9 | 17.49 | 16.99 | 15.51 | 17.14 | 17.63 | 17.87 | 10.18 | 16.6 | 16.17 | 17.03 | 17.13 | 17.28 | 15.75 | 17.47 | 17.54 | 17.51 | 17.56 | 16.98 | 17.59 | 17.88 | 17.71 | 17.54 | 17.33 | 17.17 | 17.34 | 17.08 | 17.35 | 8.064 | 16.73 | 17.93 | 18 | 18.04 | 17.18 | 17.62 | 18.21 | 10.03 | 15.12 | 16.7 | 17.58 | 17.66 | 17.69 | 17.9 | 15.56 | 16.68 | 16.95 | 16.91 | 17.05 | 16.45 | 18.93 | 17.52 | 11.35 | 10.58 | 16.42 | 16.6 | 17.01 | 16.57 | 16.88 | 15.96 | 16.83 | 17.33 | 17.14 | 17.26 | 15.29 | 16.63 | 16.28 | 17.12 | 16.54
5 | 70.57 | 16.03 | 16.52 | 16.99 | 17.48 | 16.81 | 15.57 | 17.4 | 17.72 | 17.57 | 10.33 | 16.33 | 16.41 | 17.11 | 17.06 | 17.28 | 15.63 | 17.49 | 17.62 | 17.74 | 17.26 | 16.67 | 17.59 | 17.58 | 17.28 | 17.64 | 16.9 | 17.57 | 16.98 | 17.39 | 17.19 | 8.161 | 17.29 | 17.64 | 17.65 | 18.21 | 16.93 | 17.81 | 17.85 | 10.15 | 14.61 | 16.79 | 17.37 | 17.72 | 17.38 | 17.82 | 16.04 | 17.08 | 17.11 | 17 | 16.64 | 16.22 | 18.58 | 18.09 | 11.58 | 10.67 | 16.35 | 16.9 | 16.76 | 16.57 | 17.03 | 15.8 | 16.71 | 17.47 | 17.25 | 17.44 | 15.79 | 16.77 | 16.18 | 16.18 | 16.43
6 | 88.21 | 16.29 | 16.35 | 17.16 | 17.63 | 16.97 | 16.1 | 17.25 | 17.72 | 17.43 | 10.29 | 16.52 | 16.33 | 17.21 | 17.3 | 17.21 | 15.72 | 17.73 | 17.39 | 17.49 | 17.5 | 17.08 | 17.98 | 17.46 | 17.23 | 17.54 | 17.07 | 16.77 | 17.1 | 17.29 | 17.27 | 8.021 | 17.03 | 17.8 | 17.92 | 18.06 | 17.19 | 18.06 | 17.76 | 10.15 | 14.78 | 16.94 | 17.28 | 17.31 | 18.04 | 17.8 | 16.27 | 17.09 | 17.17 | 16.84 | 16.47 | 16.28 | 18.79 | 17.88 | 11.55 | 10.53 | 16.28 | 16.58 | 16.56 | 16.97 | 16.91 | 15.79 | 16.98 | 17.22 | 17.09 | 17.29 | 15.57 | 16.93 | 16.38 | 16.3 | 16.67
7 | 105.86 | 16.18 | 16.55 | 17.19 | 17.25 | 17.2 | 15.77 | 17.44 | 17.81 | 17.74 | 10.37 | 16.3 | 16.43 | 17.28 | 17.46 | 17.61 | 15.99 | 17.27 | 17.75 | 18.06 | 17.53 | 16.63 | 17.63 | 17.75 | 17.66 | 17.32 | 16.9 | 16.94 | 17.27 | 17.3 | 17.36 | 8.123 | 17.01 | 17.85 | 18.03 | 18.07 | 17.14 | 17.38 | 17.77 | 10.01 | 15.07 | 16.95 | 17.62 | 17.79 | 17.79 | 17.94 | 16.08 | 17.15 | 17.3 | 17.17 | 16.6 | 16.28 | 18.82 | 18.13 | 11.43 | 10.47 | 16.61 | 16.62 | 16.71 | 16.63 | 16.93 | 15.81 | 17.04 | 17.38 | 17.2 | 17.43 | 15.62 | 16.65 | 16.31 | 16.74 | 16.92
8 | 123.5 | 16.24 | 16.52 | 17.11 | 17.28 | 17.17 | 15.87 | 17.53 | 17.39 | 17.61 | 10.3 | 16.18 | 16.24 | 17.32 | 16.69 | 17.36 | 15.8 | 17.17 | 17.63 | 17.71 | 17.38 | 16.87 | 17.87 | 17.96 | 17.26 | 17.58 | 16.85 | 17.46 | 17.1 | 17.17 | 17.38 | 8.024 | 16.85 | 18.24 | 18.1 | 18.11 | 17.02 | 18.13 | 17.81 | 9.832 | 14.87 | 16.54 | 17.41 | 17.4 | 17.53 | 17.75 | 16.36 | 16.95 | 17.28 | 17.24 | 16.79 | 16.36 | 18.53 | 18.38 | 11.84 | 10.86 | 16.49 | 16.7 | 17.06 | 16.84 | 16.99 | 15.94 | 17.02 | 17.53 | 17.25 | 17.39 | 15.6 | 16.71 | 16.45 | 16.37 | 16.77
9 | 141.14 | 16.08 | 16.45 | 16.96 | 17.71 | 17.2 | 15.64 | 17.26 | 17.7 | 17.77 | 10.28 | 16.26 | 16.88 | 17.27 | 16.8 | 17.43 | 16.06 | 17.52 | 17.94 | 17.7 | 17.42 | 16.94 | 17.51 | 17.83 | 17.77 | 17.5 | 16.73 | 17.39 | 16.94 | 17.41 | 17.23 | 8.263 | 17.1 | 17.57 | 17.79 | 18.17 | 17.29 | 18.09 | 17.8 | 10.26 | 14.79 | 17.09 | 17.26 | 17.57 | 17.97 | 18.21 | 15.82 | 17.24 | 16.98 | 17.03 | 16.84 | 16.67 | 18.64 | 18.56 | 11.69 | 10.62 | 16.51 | 16.95 | 17.24 | 16.7 | 16.82 | 15.98 | 17.38 | 17.48 | 17.08 | 17.58 | 15.94 | 16.83 | 16.3 | 16.74 | 16.84
10 | 158.79 | 16.24 | 16.57 | 16.75 | 17.67 | 17.07 | 15.52 | 17.39 | 17.52 | 17.82 | 10.3 | 16.28 | 16.82 | 17.22 | 16.9 | 17.55 | 16.19 | 17.64 | 17.89 | 17.88 | 17.44 | 16.95 | 18.01 | 17.68 | 17.68 | 17.69 | 16.89 | 17.11 | 16.67 | 17.16 | 17.41 | 8.149 | 16.78 | 17.85 | 17.67 | 17.88 | 16.86 | 17.76 | 17.76 | 9.963 | 14.84 | 16.97 | 17.79 | 17.62 | 17.69 | 18.05 | 16.23 | 16.95 | 17.17 | 17.01 | 16.39 | 16.49 | 19.11 | 17.94 | 11.63 | 10.49 | 16.28 | 17.05 | 16.68 | 16.33 | 17.05 | 16.02 | 17.12 | 17.31 | 17.1 | 17.64 | 15.85 | 16.79 | 16.69 | 16.46 | 16.44
11 | 176.43 | 16.13 | 16.45 | 17.17 | 17.67 | 17.04 | 15.83 | 17.68 | 17.71 | 17.71 | 9.843 | 16.78 | 16.45 | 17.43 | 16.85 | 17.42 | 15.94 | 17.35 | 18.03 | 17.62 | 17.71 | 16.81 | 17.48 | 18 | 17.82 | 17.68 | 17.27 | 17.06 | 17.15 | 17.29 | 17.02 | 7.992 | 17.05 | 17.67 | 17.65 | 18.12 | 17.04 | 17.89 | 17.71 | 10.23 | 14.89 | 16.66 | 17.67 | 17.42 | 17.43 | 18.43 | 15.86 | 16.83 | 16.79 | 16.73 | 16.49 | 16.44 | 18.42 | 18.21 | 11.66 | 10.32 | 16.29 | 16.4 | 17.2 | 16.63 | 17.14 | 15.93 | 17.34 | 17.69 | 17.06 | 17.54 | 15.65 | 16.61 | 16.25 | 16.61 | 16.52
12 | 194.07 | 16.26 | 16.54 | 17.26 | 17.63 | 17.11 | 15.33 | 17.62 | 17.46 | 17.77 | 10.06 | 16.5 | 16.33 | 17.36 | 17.09 | 17.43 | 16.14 | 17.32 | 17.75 | 17.99 | 17.44 | 16.81 | 18.01 | 17.82 | 17.82 | 17.45 | 16.89 | 17.63 | 17.06 | 17.31 | 17.49 | 8.138 | 17.02 | 17.87 | 18.26 | 17.85 | 17.31 | 17.96 | 18.17 | 9.994 | 14.95 | 17.08 | 17.55 | 17.64 | 17.79 | 18.16 | 16.23 | 17.15 | 16.9 | 16.8 | 16.37 | 16.78 | 18.79 | 17.89 | 11.54 | 10.87 | 16.81 | 16.58 | 17.23 | 16.69 | 16.95 | 15.73 | 17.28 | 17.29 | 16.93 | 17.07 | 15.53 | 16.97 | 16.69 | 16.73 | 17.01
13 | 211.72 | 16.34 | 16.35 | 16.68 | 17.77 | 17.2 | 15.82 | 17.4 | 17.79 | 18 | 10.14 | 16.78 | 16.66 | 17.14 | 16.98 | 17.38 | 16.21 | 17.04 | 17.76 | 17.82 | 17.21 | 16.99 | 17.89 | 18.15 | 17.55 | 17.79 | 16.9 | 17.19 | 17.23 | 17.22 | 17.29 | 7.963 | 17.07 | 17.88 | 17.83 | 17.95 | 17.15 | 17.84 | 17.64 | 10.03 | 15.13 | 17.2 | 17.7 | 17.25 | 17.75 | 17.8 | 16.11 | 16.96 | 17.55 | 16.78 | 16.62 | 16.43 | 18.36 | 18.2 | 11.46 | 10.62 | 16.2 | 16.72 | 17.22 | 17.05 | 16.8 | 15.98 | 17.1 | 17.53 | 17.18 | 17.23 | 15.78 | 16.66 | 16.3 | 16.63 | 16.93
14 | 229.36 | 16.2 | 16.51 | 17.11 | 17.56 | 16.99 | 15.72 | 17.31 | 17.66 | 17.96 | 10.02 | 16.82 | 16.48 | 17.07 | 16.92 | 17.48 | 15.83 | 17.44 | 17.58 | 17.66 | 17.77 | 16.91 | 17.95 | 17.85 | 17.49 | 17.54 | 16.78 | 17.55 | 17.2 | 17.49 | 17.04 | 8.135 | 17.36 | 17.78 | 17.97 | 18.21 | 16.9 | 17.76 | 18.32 | 10.08 | 14.73 | 17.06 | 17.54 | 17.72 | 17.89 | 17.87 | 16.18 | 17.06 | 17.32 | 16.6 | 16.71 | 16.33 | 18.71 | 17.89 | 11.7 | 10.44 | 16.37 | 16.51 | 16.53 | 16.65 | 17.08 | 16.12 | 17.07 | 17.33 | 17.11 | 17.4 | 15.55 | 16.77 | 16.3 | 16.36 | 16.97
15 | 247 | 16.2 | 16.48 | 16.89 | 17.66 | 17.4 | 16.01 | 17.4 | 17.38 | 17.87 | 10.38 | 16.5 | 16.72 | 16.9 | 16.94 | 17.54 | 16.1 | 17.57 | 18 | 17.75 | 17.33 | 16.9 | 17.92 | 17.83 | 17.68 | 17.47 | 17.07 | 17.04 | 17.15 | 17.56 | 17.34 | 8.409 | 16.71 | 18.22 | 18.29 | 18.32 | 16.83 | 17.41 | 17.75 | 10.05 | 15.32 | 17.04 | 17.64 | 17.73 | 17.74 | 17.94 | 16.17 | 17.28 | 17.27 | 16.92 | 16.22 | 16.42 | 18.01 | 17.86 | 11.38 | 10.7 | 16.31 | 16.97 | 17.33 | 16.46 | 17.1 | 15.68 | 17.29 | 17.61 | 17.17 | 17.15 | 15.49 | 16.78 | 16.37 | 16.58 | 16.81
16 | 264.65 | 15.97 | 16.42 | 16.93 | 17.33 | 16.96 | 15.82 | 17.57 | 17.74 | 17.94 | 10.12 | 16.34 | 16.31 | 17.38 | 16.95 | 17.56 | 15.99 | 17.37 | 17.8 | 17.56 | 17.07 | 16.97 | 17.94 | 17.91 | 17.52 | 17.47 | 17.06 | 17.38 | 17.29 | 17.36 | 17.13 | 8.399 | 17.36 | 18.25 | 17.9 | 17.86 | 17.43 | 17.43 | 17.8 | 10.03 | 15.11 | 16.68 | 17.52 | 18.01 | 17.66 | 18.11 | 16.35 | 16.83 | 17.16 | 17.12 | 16.78 | 16.47 | 18.57 | 17.95 | 11.54 | 10.45 | 16.27 | 16.83 | 16.94 | 16.73 | 16.86 | 16 | 17.35 | 17.36 | 17.57 | 17.37 | 15.77 | 16.75 | 16.45 | 16.63 | 16.83
17 | 282.29 | 16 | 16.64 | 16.92 | 17.26 | 17.04 | 15.69 | 17.4 | 17.8 | 17.92 | 10.29 | 16.38 | 16.46 | 17.09 | 17.07 | 17.51 | 15.97 | 17.51 | 17.42 | 17.86 | 17.6 | 16.69 | 17.62 | 18.24 | 17.54 | 17.77 | 17.01 | 17.57 | 17.26 | 17.27 | 17.19 | 8.035 | 17.37 | 17.79 | 18.32 | 18.24 | 17.47 | 17.86 | 18.26 | 9.935 | 14.84 | 16.99 | 17.85 | 17.99 | 17.62 | 17.99 | 15.94 | 17.41 | 17.18 | 16.82 | 16.51 | 16.38 | 18.5 | 18.05 | 11.52 | 10.79 | 16.4 | 16.92 | 17.25 | 17.13 | 17.12 | 16.08 | 17.54 | 17.68 | 17.4 | 17.19 | 15.49 | 16.98 | 16.46 | 16.45 | 16.4
18 | 299.93 | 16.23 | 16.21 | 16.84 | 17.69 | 16.99 | 16.02 | 17.52 | 17.74 | 17.61 | 10.07 | 16.62 | 16.37 | 16.99 | 16.98 | 17.53 | 15.94 | 17.58 | 17.69 | 17.74 | 17.22 | 16.93 | 17.71 | 17.49 | 17.72 | 17.25 | 17.25 | 17.07 | 17.23 | 17.15 | 17.38 | 8.481 | 16.86 | 18.01 | 18.31 | 18.08 | 17.25 | 17.75 | 17.86 | 9.926 | 14.96 | 16.75 | 17.6 | 17.62 | 17.93 | 17.82 | 16.38 | 16.9 | 16.94 | 16.66 | 16.56 | 16.44 | 19.01 | 17.79 | 11.61 | 10.62 | 16.32 | 16.81 | 17.31 | 16.9 | 16.66 | 15.91 | 17.28 | 17.42 | 17.22 | 17.36 | 15.95 | 16.7 | 16.21 | 16.64 | 16.81
19 | 317.57 | 16.19 | 16.51 | 16.79 | 17.36 | 17.37 | 15.79 | 17.18 | 17.64 | 17.4 | 10.26 | 16.56 | 16.41 | 17.05 | 16.68 | 17.51 | 16.02 | 17.22 | 17.51 | 17.65 | 17.35 | 16.8 | 18.07 | 18.18 | 17.66 | 17.66 | 16.93 | 17.5 | 16.84 | 17.47 | 17.47 | 8.198 | 17.45 | 18.22 | 17.9 | 17.99 | 16.93 | 17.52 | 18.03 | 10.16 | 14.87 | 17.05 | 17.28 | 17.69 | 17.89 | 17.86 | 16.33 | 16.96 | 17.47 | 17.22 | 16.62 | 16.39 | 18.3 | 18.21 | 11.65 | 10.41 | 16.35 | 16.81 | 16.7 | 16.56 | 17.33 | 15.73 | 17.17 | 17.75 | 17.23 | 17.31 | 15.75 | 16.63 | 16.66 | 16.54 | 16.84
20 | 335.21 | 15.98 | 16.76 | 17.07 | 17.64 | 16.92 | 15.63 | 17.41 | 17.66 | 17.82 | 10.1 | 16.28 | 16.61 | 17.09 | 17.13 | 17.62 | 15.83 | 16.95 | 17.66 | 17.87 | 17.46 | 17.04 | 17.99 | 17.8 | 17.74 | 17.62 | 17.09 | 17.55 | 17.28 | 17.65 | 17.26 | 8.127 | 17.04 | 18.16 | 18.3 | 17.67 | 16.96 | 17.58 | 17.82 | 10.18 | 15.28 | 16.9 | 17.57 | 17.58 | 17.78 | 18.07 | 16.14 | 16.86 | 17.23 | 16.96 | 16.71 | 16.7 | 18.5 | 17.85 | 11.77 | 10.71 | 16.21 | 16.77 | 16.9 | 16.92 | 16.83 | 15.92 | 16.95 | 17.64 | 17.07 | 17.27 | 15.19 | 16.68 | 16.21 | 16.58 | 17.05
21 | 352.85 | 15.95 | 16.43 | 17.25 | 17.29 | 17.12 | 15.88 | 17.22 | 17.55 | 17.53 | 10.4 | 16.71 | 16.28 | 17.38 | 16.9 | 17.42 | 15.91 | 17.11 | 17.56 | 17.7 | 17.31 | 16.91 | 17.7 | 18.32 | 17.5 | 17.4 | 17.31 | 17.56 | 17.1 | 17.26 | 17.26 | 8.147 | 17.1 | 18.03 | 18.36 | 17.75 | 17.32 | 18.13 | 17.95 | 10.29 | 14.98 | 16.99 | 17.82 | 17.44 | 17.78 | 17.59 | 16.19 | 17.02 | 16.81 | 16.87 | 16.48 | 16.4 | 18.16 | 18.27 | 11.46 | 10.58 | 16.71 | 16.73 | 16.84 | 16.7 | 17.13 | 16.11 | 17.03 | 17.7 | 17.03 | 17.22 | 15.44 | 16.91 | 16.32 | 16.66 | 16.31
22 | 370.49 | 16.21 | 16.9 | 17.26 | 17.33 | 16.92 | 15.65 | 17.4 | 17.85 | 17.76 | 10.3 | 16.43 | 16.18 | 16.95 | 16.94 | 17.55 | 16.06 | 17.36 | 17.55 | 17.93 | 17.51 | 16.94 | 18.1 | 18.44 | 17.98 | 17.54 | 16.77 | 17.64 | 17.25 | 17.1 | 17.31 | 8.313 | 17.26 | 17.77 | 18.35 | 18.24 | 17.01 | 17.61 | 17.99 | 10.16 | 15.18 | 17.11 | 17.87 | 17.83 | 17.9 | 17.97 | 16.14 | 17.26 | 17.13 | 16.89 | 16.52 | 16.27 | 17.95 | 18.21 | 11.72 | 10.55 | 16.41 | 16.67 | 16.8 | 16.46 | 16.92 | 16.13 | 17.29 | 17.83 | 17.04 | 17.36 | 15.51 | 16.73 | 16.18 | 16.81 | 16.72
23 | 388.13 | 16.25 | 16.33 | 17.43 | 17.51 | 17.14 | 15.61 | 17.43 | 17.7 | 17.48 | 10.09 | 16.6 | 16.51 | 17.15 | 16.9 | 17.57 | 16.15 | 17.63 | 17.96 | 17.87 | 17.54 | 16.98 | 18.14 | 17.93 | 17.87 | 17.69 | 17.34 | 17.62 | 17.17 | 17.33 | 17.2 | 8.129 | 17.47 | 18.1 | 17.4 | 17.97 | 17.06 | 17.49 | 17.56 | 10.04 | 15 | 16.97 | 17.46 | 17.75 | 17.75 | 18.02 | 16.2 | 16.92 | 17.26 | 17.41 | 16.47 | 16.16 | 18.24 | 18.07 | 11.27 | 10.64 | 16.35 | 16.97 | 17.01 | 16.97 | 17.32 | 15.84 | 17.01 | 17.54 | 17.33 | 17.84 | 15.54 | 16.79 | 16.33 | 16.32 | 16.82
24 | 405.77 | 16.28 | 16.72 | 16.88 | 17.68 | 17.24 | 15.59 | 17.09 | 17.78 | 18.15 | 9.999 | 16.39 | 16.84 | 17.09 | 16.88 | 17.71 | 15.92 | 17.37 | 17.94 | 17.62 | 17.62 | 16.97 | 17.88 | 18.14 | 17.49 | 17.39 | 17.02 | 17.46 | 17.13 | 17.61 | 17.28 | 7.835 | 17.03 | 18.08 | 17.83 | 18.05 | 17.3 | 17.81 | 17.88 | 9.965 | 14.63 | 17.17 | 17.21 | 17.7 | 17.92 | 17.83 | 16.03 | 17.33 | 17.2 | 16.94 | 16.44 | 16.64 | 17.95 | 18.26 | 11.8 | 10.41 | 16.29 | 16.88 | 17.12 | 16.76 | 17.49 | 15.98 | 17.56 | 17.64 | 17.59 | 17.78 | 15.61 | 16.41 | 16.27 | 16.67 | 16.72
25 | 423.41 | 16.23 | 16.46 | 16.86 | 17.39 | 17.55 | 15.51 | 17.28 | 17.86 | 17.81 | 10.04 | 16.42 | 16.36 | 17.16 | 17.13 | 17.41 | 15.71 | 17.41 | 17.86 | 17.66 | 17.57 | 16.95 | 17.9 | 18.17 | 17.48 | 17.9 | 16.86 | 17.67 | 17.02 | 17.08 | 17.4 | 8.077 | 16.9 | 18.47 | 17.83 | 18.27 | 17.07 | 17.77 | 17.88 | 10.23 | 14.97 | 16.84 | 17.48 | 17.85 | 17.77 | 18.25 | 16.53 | 17.35 | 16.9 | 17.05 | 16.58 | 16.29 | 18.34 | 18.03 | 11.61 | 10.68 | 16.16 | 16.66 | 17 | 16.66 | 16.58 | 15.99 | 17.41 | 17.39 | 17.24 | 17.29 | 15.75 | 16.66 | 16.26 | 16.48 | 16.45
26 | 441.05 | 15.92 | 16.82 | 16.97 | 17.44 | 17.17 | 15.7 | 17.4 | 17.87 | 17.67 | 10.23 | 16.61 | 16.21 | 17.35 | 16.79 | 17.46 | 15.89 | 17.39 | 18.04 | 17.98 | 17.68 | 16.84 | 18.05 | 17.69 | 17.47 | 17.49 | 16.87 | 17.27 | 17.25 | 17.29 | 17.48 | 8.082 | 17.32 | 17.71 | 18.03 | 17.81 | 17.21 | 17.98 | 18.24 | 10.37 | 15.1 | 16.87 | 17.29 | 17.78 | 18.07 | 17.71 | 16.49 | 16.83 | 17.52 | 16.9 | 16.52 | 16.48 | 18.23 | 18.14 | 11.57 | 10.81 | 16.62 | 16.65 | 16.83 | 16.94 | 17.05 | 16.14 | 17.07 | 17.61 | 17.21 | 17.3 | 15.52 | 17 | 16.53 | 16.6 | 16.81
27 | 458.69 | 16.26 | 16.63 | 16.79 | 17.65 | 17.12 | 15.44 | 17.48 | 18.02 | 17.48 | 10.09 | 16.1 | 16.55 | 17.14 | 16.86 | 17.36 | 16.2 | 17.44 | 17.94 | 17.94 | 17.08 | 16.9 | 17.92 | 17.83 | 17.8 | 17.71 | 16.76 | 17.62 | 17.25 | 17.42 | 17.23 | 8.214 | 17 | 17.98 | 17.95 | 18.25 | 17.39 | 17.77 | 17.91 | 10.23 | 14.93 | 16.82 | 17.98 | 17.84 | 17.76 | 18.13 | 15.88 | 17.09 | 16.86 | 16.82 | 16.49 | 16.72 | 18.34 | 18.04 | 11.24 | 10.77 | 16.47 | 16.71 | 16.76 | 16.71 | 17.2 | 15.79 | 16.91 | 17.45 | 17.27 | 17.52 | 15.6 | 16.61 | 16.11 | 16.43 | 16.69
28 | 476.33 | 15.83 | 16.48 | 16.87 | 17.96 | 16.86 | 15.68 | 17.41 | 17.55 | 17.68 | 10.4 | 16.21 | 16.62 | 17.3 | 16.82 | 17.59 | 16.01 | 17.73 | 17.38 | 17.79 | 17.37 | 16.92 | 17.84 | 18.07 | 17.76 | 17.42 | 17.46 | 17.09 | 17 | 17.12 | 17.4 | 8.055 | 17.14 | 18.04 | 18.33 | 17.83 | 17.16 | 17.82 | 17.98 | 10.16 | 14.93 | 17.27 | 17.59 | 17.87 | 17.66 | 18.12 | 16.49 | 17.02 | 17.02 | 16.97 | 16.41 | 16.4 | 18.16 | 17.9 | 11.84 | 10.87 | 16.08 | 16.31 | 16.59 | 16.69 | 17.25 | 15.87 | 17.24 | 17.52 | 17.58 | 17.1 | 15.44 | 16.76 | 16.26 | 16.67 | 16.69
29 | 493.97 | 16.11 | 16.69 | 16.96 | 17.11 | 16.92 | 15.87 | 17.19 | 17.67 | 17.65 | 10 | 16.62 | 16.08 | 16.68 | 16.99 | 17.09 | 16.13 | 17.32 | 18.08 | 17.93 | 17.72 | 17.03 | 18.31 | 18.24 | 17.86 | 17.49 | 17.07 | 17.4 | 16.9 | 17.2 | 17.24 | 8.07 | 17.38 | 17.79 | 18.14 | 18.34 | 17.06 | 17.77 | 18.04 | 10.12 | 14.91 | 16.94 | 17.56 | 17.71 | 17.81 | 17.9 | 16.2 | 17.04 | 17.36 | 16.52 | 16.69 | 16.29 | 18.24 | 18.19 | 11.54 | 10.47 | 16.43 | 16.85 | 17.32 | 16.86 | 16.7 | 15.96 | 16.92 | 17.76 | 17.1 | 17.17 | 15.43 | 16.6 | 16.48 | 16.4 | 16.91
30 | 511.61 | 16.02 | 16.33 | 17.07 | 17.63 | 17.18 | 15.64 | 17.36 | 17.24 | 17.48 | 10.13 | 16.37 | 16.72 | 16.99 | 16.91 | 17.49 | 16.03 | 17.43 | 17.67 | 17.4 | 17.38 | 16.96 | 17.8 | 17.81 | 17.75 | 17.49 | 17.06 | 17.33 | 17.26 | 17.46 | 17.26 | 8.234 | 16.63 | 17.98 | 18.12 | 17.86 | 17.13 | 17.8 | 18.06 | 10.24 | 14.79 | 16.69 | 17.86 | 17.76 | 18.06 | 18.13 | 16.14 | 16.76 | 16.97 | 16.71 | 16.57 | 16.65 | 18.34 | 18.13 | 11.49 | 10.78 | 16.72 | 16.83 | 17.13 | 16.79 | 17.16 | 15.6 | 17.01 | 17.3 | 17.43 | 17.39 | 15.76 | 17.07 | 16.21 | 16.52 | 16.6
Autoloading range A1 - BU42

## Fluorescence 2_02
Measurement results
TMRM_students1.skax
04/06/2024 18.51.20
Fluorescence 2
Ex 548 nm, Em 573 nm
Plate 1
Reading | avg. time [s] | Un0001 (A01) | Un0008 (A02) | Un0015 (A03) | Un0022 (A04) | Un0029 (A05) | Un0036 (A06) | Un0043 (A07) | Un0050 (A08) | Un0057 (A09) | Un0064 (A10) | Un0002 (B01) | Un0009 (B02) | Un0016 (B03) | Un0023 (B04) | Un0030 (B05) | Un0037 (B06) | Un0044 (B07) | Un0051 (B08) | Un0058 (B09) | Un0065 (B10) | Un0003 (C01) | Un0010 (C02) | Un0017 (C03) | Un0024 (C04) | Un0031 (C05) | Un0038 (C06) | Un0045 (C07) | Un0052 (C08) | Un0059 (C09) | Un0066 (C10) | Un0004 (D01) | Un0011 (D02) | Un0018 (D03) | Un0025 (D04) | Un0032 (D05) | Un0039 (D06) | Un0046 (D07) | Un0053 (D08) | Un0060 (D09) | Un0067 (D10) | Un0005 (E01) | Un0012 (E02) | Un0019 (E03) | Un0026 (E04) | Un0033 (E05) | Un0040 (E06) | Un0047 (E07) | Un0054 (E08) | Un0061 (E09) | Un0068 (E10) | Un0006 (F01) | Un0013 (F02) | Un0020 (F03) | Un0027 (F04) | Un0034 (F05) | Un0041 (F06) | Un0048 (F07) | Un0055 (F08) | Un0062 (F09) | Un0069 (F10) | Un0007 (G01) | Un0014 (G02) | Un0021 (G03) | Un0028 (G04) | Un0035 (G05) | Un0042 (G06) | Un0049 (G07) | Un0056 (G08) | Un0063 (G09) | Un0070 (G10)
1 | 0 | 16.06 | 15.73 | 15.79 | 16.21 | 15.99 | 15.12 | 16.23 | 16.56 | 16.49 | 16.29 | 15.26 | 15.34 | 15.8 | 16.05 | 16.95 | 15.51 | 16.95 | 16.79 | 17.04 | 16.29 | 15.91 | 17.01 | 16.63 | 16.5 | 16.97 | 16.38 | 16.27 | 15.49 | 16.42 | 16.15 | 14.83 | 16.33 | 16.13 | 16.8 | 16.81 | 15.66 | 16.39 | 16.67 | 15.69 | 13.65 | 15.39 | 16.43 | 16.24 | 16.66 | 15.96 | 14.73 | 16.08 | 15.86 | 15.79 | 15.1 | 15.05 | 15.5 | 16.1 | 16.73 | 15.78 | 15.2 | 15.95 | 15.82 | 15.62 | 15.98 | 15.32 | 15.88 | 16.08 | 16.12 | 15.79 | 13.93 | 15.3 | 15.29 | 15.68 | 15.45
2 | 17.64 | 15.97 | 15.57 | 15.58 | 16.62 | 15.78 | 14.79 | 16.13 | 16.5 | 16.24 | 15.99 | 15.12 | 15.53 | 15.97 | 16.07 | 17.13 | 15.34 | 16.72 | 16.85 | 17.02 | 16.21 | 16.03 | 17.06 | 16.87 | 16.05 | 16.89 | 16.45 | 16.63 | 15.27 | 16.47 | 15.95 | 14.84 | 15.86 | 16.17 | 16.61 | 16.79 | 15.53 | 16.34 | 16.6 | 15.5 | 14.18 | 15.3 | 16.24 | 16.21 | 16.95 | 15.99 | 14.73 | 15.84 | 16.22 | 15.96 | 15.38 | 14.98 | 15.36 | 15.9 | 16.06 | 15.73 | 15.1 | 16.23 | 15.73 | 15.69 | 16.01 | 15.06 | 15.88 | 16.32 | 15.75 | 15.99 | 13.94 | 15.41 | 14.92 | 15.36 | 15.28
3 | 35.28 | 15.57 | 15.51 | 16.04 | 16.76 | 15.58 | 15.1 | 16.44 | 16.3 | 16.71 | 15.94 | 15.05 | 15.38 | 15.66 | 15.76 | 16.78 | 15.68 | 16.76 | 16.95 | 16.94 | 16.24 | 15.79 | 17.29 | 16.56 | 16.44 | 16.91 | 16.32 | 16.07 | 15.18 | 16.3 | 16.2 | 14.77 | 16.2 | 16.2 | 16.52 | 16.77 | 15.42 | 16.57 | 16.41 | 15.73 | 13.95 | 15.42 | 16.45 | 16.35 | 17.19 | 15.59 | 14.78 | 15.68 | 15.74 | 15.77 | 15.16 | 14.76 | 15.47 | 15.93 | 16.39 | 15.8 | 15.31 | 15.9 | 15.68 | 15.52 | 15.52 | 15.1 | 15.73 | 16.03 | 15.78 | 16.15 | 13.86 | 15.71 | 15.04 | 15.39 | 15.77
4 | 52.93 | 15.73 | 15.25 | 15.51 | 16.2 | 15.45 | 15.12 | 15.97 | 16.09 | 16.54 | 16.09 | 15.34 | 15.15 | 15.62 | 15.85 | 17.01 | 15.59 | 16.74 | 16.7 | 16.96 | 16.07 | 15.86 | 16.98 | 16.5 | 15.92 | 16.85 | 16.07 | 16.56 | 15.71 | 16.15 | 16.11 | 14.86 | 16.27 | 16.17 | 16.6 | 16.6 | 15.29 | 16.33 | 16.27 | 15.62 | 13.77 | 15.4 | 16.39 | 16.15 | 16.78 | 15.45 | 14.93 | 15.72 | 15.91 | 15.71 | 15.01 | 14.56 | 15.17 | 16.02 | 16.3 | 15.85 | 15.53 | 15.8 | 15.82 | 15.81 | 16 | 14.94 | 15.91 | 16.19 | 15.86 | 16.19 | 13.89 | 15.55 | 14.93 | 15.71 | 15.55
5 | 70.57 | 15.56 | 15.55 | 16.01 | 16.4 | 15.77 | 14.96 | 16.17 | 16.57 | 16.62 | 16.31 | 15.07 | 15.17 | 15.47 | 16 | 16.72 | 15.44 | 16.47 | 16.91 | 16.96 | 16.28 | 15.65 | 16.84 | 16.42 | 16.48 | 16.89 | 16.32 | 16.03 | 15.57 | 16.49 | 15.7 | 14.89 | 16.3 | 15.96 | 16.71 | 16.4 | 15.08 | 16.26 | 16.56 | 15.53 | 13.63 | 15.57 | 16.3 | 16.45 | 16.8 | 16.07 | 14.92 | 15.84 | 15.96 | 16.09 | 15.26 | 15.17 | 15.24 | 15.89 | 16.3 | 15.58 | 15.42 | 15.81 | 15.31 | 15.77 | 15.98 | 15.17 | 15.84 | 15.89 | 15.74 | 16.02 | 14.2 | 15.49 | 14.96 | 15.59 | 15.28
6 | 88.21 | 16.15 | 15.59 | 16.14 | 16.28 | 15.8 | 15.07 | 16.17 | 16.24 | 16.65 | 16.27 | 14.99 | 15.31 | 15.57 | 15.76 | 16.92 | 15.5 | 16.79 | 16.39 | 16.86 | 16.22 | 15.83 | 17.02 | 16.73 | 15.95 | 16.83 | 16.16 | 16.13 | 15.29 | 16.09 | 15.65 | 14.9 | 15.89 | 15.5 | 16.66 | 16.8 | 15.53 | 16.11 | 16.29 | 15.58 | 13.76 | 15.38 | 16.15 | 16.18 | 16.86 | 16.19 | 14.64 | 15.73 | 15.82 | 15.49 | 15.25 | 15.12 | 15.08 | 15.98 | 16.66 | 15.98 | 15.3 | 15.89 | 15.64 | 15.55 | 15.91 | 15.11 | 15.72 | 16 | 15.58 | 16.21 | 13.74 | 15.54 | 15.29 | 15.34 | 15.39
7 | 105.85 | 15.89 | 15.35 | 15.79 | 16.19 | 15.71 | 15.09 | 16.08 | 16.25 | 16.56 | 16.08 | 15.26 | 15.39 | 15.6 | 16.17 | 16.77 | 15.17 | 16.6 | 16.65 | 16.66 | 16.51 | 15.9 | 16.84 | 16.56 | 16.11 | 16.41 | 15.96 | 16.14 | 15.46 | 16.35 | 15.67 | 14.78 | 16.11 | 16.14 | 16.68 | 16.68 | 15.03 | 16 | 16.59 | 15.57 | 13.78 | 15.19 | 16.22 | 16.46 | 16.53 | 15.59 | 14.83 | 15.83 | 15.88 | 15.42 | 15.49 | 15.16 | 15.23 | 15.53 | 16.38 | 16.24 | 15.25 | 15.9 | 15.95 | 15.29 | 15.66 | 14.95 | 15.82 | 15.81 | 15.96 | 15.98 | 13.87 | 15.58 | 15.05 | 15.64 | 15.55
8 | 123.5 | 15.95 | 15.74 | 16.15 | 16.45 | 15.56 | 14.72 | 16.17 | 16.27 | 16.55 | 16.25 | 15.49 | 15.4 | 15.44 | 15.92 | 16.6 | 15.22 | 16.46 | 16.51 | 16.64 | 16.11 | 16.08 | 17.16 | 16.17 | 15.94 | 16.81 | 16.12 | 16.27 | 15.45 | 16 | 15.94 | 14.79 | 16.27 | 15.89 | 17.01 | 16.47 | 15.37 | 16.11 | 16.24 | 15.65 | 13.56 | 15.54 | 16.58 | 16.26 | 17.2 | 15.66 | 14.92 | 15.52 | 16.17 | 15.53 | 15.01 | 15.06 | 15.3 | 15.68 | 16.62 | 15.59 | 14.97 | 15.61 | 15.76 | 15.54 | 16.1 | 15.05 | 16.04 | 15.84 | 15.88 | 16.19 | 13.96 | 15.25 | 15.01 | 15.42 | 15.81
9 | 141.14 | 15.72 | 15.33 | 15.85 | 16.35 | 15.54 | 15.45 | 15.91 | 16.63 | 16.46 | 16 | 15.15 | 15.45 | 15.65 | 15.92 | 17.24 | 15.44 | 16.66 | 16.89 | 17.02 | 16.05 | 15.48 | 16.71 | 16.74 | 16.25 | 16.76 | 16.08 | 16.37 | 15.56 | 15.88 | 16.05 | 14.71 | 16.15 | 15.9 | 16.62 | 16.65 | 15.16 | 16.12 | 16.79 | 16.02 | 13.77 | 15.24 | 16.47 | 16.13 | 16.44 | 15.92 | 14.98 | 15.6 | 16.17 | 15.91 | 15.28 | 15.11 | 15.26 | 15.69 | 16.49 | 15.63 | 15.18 | 15.74 | 15.46 | 15.59 | 15.48 | 15.29 | 16 | 16.04 | 15.69 | 16.34 | 14.21 | 15.32 | 15.02 | 15.51 | 15.6
10 | 158.78 | 15.79 | 15.51 | 15.59 | 16.3 | 15.53 | 15.06 | 16.28 | 15.95 | 16.63 | 16.23 | 14.86 | 14.9 | 15.75 | 16.15 | 16.44 | 15.77 | 16.48 | 16.85 | 16.98 | 16.06 | 15.79 | 17.03 | 16.54 | 16.29 | 16.47 | 15.92 | 16.23 | 15.76 | 16.33 | 16.08 | 14.87 | 16.15 | 16.18 | 16.7 | 16.74 | 14.97 | 16.32 | 16.65 | 16.31 | 13.73 | 15.25 | 16.8 | 16.12 | 16.64 | 15.9 | 14.78 | 15.86 | 15.99 | 15.41 | 15.39 | 14.95 | 15.26 | 15.45 | 16.28 | 15.8 | 14.95 | 15.98 | 16.19 | 15.57 | 16.04 | 14.89 | 15.85 | 16 | 15.53 | 15.76 | 14.14 | 15.36 | 15.22 | 15.7 | 15.44
11 | 176.43 | 16.06 | 15.97 | 16.15 | 16.32 | 15.64 | 15.02 | 16.11 | 16.21 | 16.38 | 16.17 | 15.2 | 15.29 | 15.44 | 15.9 | 16.83 | 15.7 | 16.8 | 16.99 | 16.79 | 15.96 | 15.94 | 16.61 | 16.68 | 16.27 | 16.61 | 15.95 | 16.32 | 15.32 | 16.5 | 15.72 | 14.62 | 16 | 15.78 | 16.56 | 16.76 | 15.34 | 16.24 | 16.58 | 16.11 | 13.53 | 15.03 | 16.41 | 15.94 | 16.94 | 15.66 | 14.77 | 15.89 | 15.8 | 15.65 | 15.25 | 14.74 | 15.2 | 15.91 | 16.13 | 15.81 | 15.07 | 15.79 | 15.78 | 15.33 | 15.77 | 15.04 | 15.57 | 15.75 | 15.61 | 16.14 | 14.07 | 15.53 | 15.04 | 15.57 | 15.39
12 | 194.07 | 15.44 | 15.69 | 15.78 | 16.04 | 15.91 | 15.03 | 16.34 | 16.29 | 15.95 | 16 | 15.13 | 14.95 | 15.47 | 15.9 | 16.63 | 15.23 | 16.65 | 16.86 | 16.47 | 16.05 | 15.54 | 16.92 | 16.52 | 16.37 | 16.67 | 16.05 | 16.38 | 15.41 | 16.48 | 15.78 | 14.93 | 16.25 | 16.31 | 16.81 | 16.72 | 15.21 | 16.26 | 16.27 | 15.59 | 13.94 | 15.18 | 16.36 | 15.93 | 16.79 | 16.07 | 14.7 | 15.54 | 15.7 | 15.31 | 15.17 | 14.44 | 15.32 | 15.58 | 16.36 | 15.41 | 14.93 | 16.04 | 15.67 | 15.59 | 15.78 | 14.97 | 15.91 | 16.01 | 15.79 | 15.79 | 13.88 | 15.62 | 14.97 | 15.42 | 15.44
13 | 211.71 | 15.78 | 15.44 | 15.99 | 16.26 | 15.53 | 15.2 | 16.27 | 16.56 | 16.39 | 15.78 | 15.37 | 15.25 | 15.36 | 15.64 | 16.69 | 15.32 | 16.4 | 16.71 | 16.43 | 16.6 | 15.97 | 16.97 | 16.69 | 16.23 | 16.53 | 16.22 | 16.07 | 15.28 | 16.42 | 15.97 | 14.84 | 16.38 | 15.89 | 16.59 | 16.69 | 15.14 | 16.09 | 16.4 | 15.55 | 13.87 | 15.17 | 15.93 | 15.94 | 16.72 | 15.79 | 14.97 | 15.62 | 16.13 | 15.46 | 15.19 | 14.93 | 15.24 | 15.68 | 16.71 | 15.37 | 15.1 | 15.85 | 15.44 | 15.71 | 15.93 | 14.71 | 15.55 | 15.99 | 15.39 | 16.19 | 14 | 15.27 | 15.29 | 15.85 | 15.55
14 | 229.36 | 15.94 | 15.72 | 15.43 | 16.36 | 15.83 | 15.04 | 16.07 | 16.32 | 16.68 | 16.09 | 15.09 | 15.25 | 15.73 | 15.68 | 16.75 | 15.46 | 16.33 | 16.92 | 16.83 | 16.31 | 15.95 | 17.26 | 16.5 | 16.4 | 16.76 | 15.94 | 16.18 | 15.57 | 16.16 | 16.05 | 14.61 | 16.01 | 16.14 | 16.62 | 16.73 | 15.11 | 15.96 | 16.06 | 15.78 | 13.9 | 15.45 | 16.36 | 15.88 | 16.61 | 15.86 | 15.03 | 15.64 | 15.55 | 15.54 | 15.09 | 14.68 | 15.5 | 16 | 16.28 | 15.76 | 15.1 | 16.27 | 15.56 | 15.4 | 15.93 | 14.99 | 15.56 | 15.79 | 15.63 | 16.04 | 14.04 | 15.48 | 14.83 | 15.66 | 15.49
15 | 247 | 15.71 | 15.76 | 16.26 | 16.26 | 15.91 | 15.18 | 16.14 | 16.21 | 16.8 | 16.18 | 15.25 | 15.33 | 15.36 | 16.06 | 16.7 | 15.39 | 16.45 | 17.05 | 16.64 | 16.36 | 15.64 | 16.77 | 16.52 | 16.15 | 16.69 | 15.79 | 16.24 | 15.19 | 16.12 | 15.79 | 14.65 | 15.87 | 15.82 | 16.43 | 16.54 | 15.59 | 16.32 | 16.57 | 15.72 | 13.77 | 15.28 | 16.55 | 16.13 | 16.61 | 15.69 | 14.88 | 15.89 | 16.28 | 15.62 | 15.18 | 14.78 | 15.19 | 16.03 | 16.45 | 15.68 | 15.03 | 15.6 | 15.9 | 15.33 | 15.88 | 14.98 | 15.87 | 15.83 | 15.84 | 16.01 | 14.35 | 15.44 | 15.17 | 15.93 | 15.02
16 | 264.64 | 16.09 | 15.74 | 16.01 | 16.53 | 15.7 | 15.01 | 16.23 | 16.29 | 16.45 | 15.9 | 15.09 | 15.58 | 15.3 | 15.88 | 16.56 | 15.48 | 16.37 | 16.94 | 16.82 | 16.3 | 15.53 | 16.71 | 16.48 | 16.15 | 16.74 | 15.89 | 16.14 | 15.43 | 16.28 | 15.8 | 14.72 | 16.16 | 16.13 | 16.39 | 16.63 | 15.36 | 16.37 | 16.43 | 15.79 | 13.69 | 15.39 | 16.58 | 16.23 | 16.93 | 15.44 | 14.71 | 15.41 | 15.75 | 15.29 | 15.04 | 14.64 | 15.15 | 15.6 | 16.26 | 15.78 | 15.19 | 15.93 | 15.86 | 15.53 | 15.85 | 14.57 | 15.84 | 15.91 | 15.79 | 16.09 | 14.35 | 15.26 | 15.08 | 15.53 | 15.29
17 | 282.28 | 16.05 | 15.46 | 15.91 | 16.29 | 15.75 | 15 | 15.9 | 16.46 | 16.57 | 16.35 | 15 | 15.26 | 15.59 | 16.19 | 16.41 | 15.47 | 16.69 | 16.63 | 16.99 | 16.24 | 15.92 | 17.07 | 16.35 | 16.17 | 16.58 | 15.78 | 16.53 | 15.53 | 16.11 | 15.71 | 14.71 | 16.32 | 16.21 | 16.52 | 16.49 | 15.3 | 16.39 | 16.64 | 15.55 | 13.96 | 15.18 | 16.37 | 15.84 | 16.97 | 15.89 | 14.44 | 15.65 | 15.85 | 15.41 | 15.37 | 14.97 | 15.17 | 15.84 | 16.27 | 15.78 | 14.89 | 15.99 | 15.65 | 15.03 | 15.86 | 14.87 | 16 | 16.11 | 15.68 | 15.96 | 13.95 | 15.36 | 15.22 | 15.53 | 15.8
18 | 299.93 | 15.39 | 15.4 | 15.94 | 16.16 | 15.69 | 15.12 | 16.28 | 16.53 | 16.44 | 16.36 | 15.18 | 15.17 | 15.52 | 15.97 | 16.43 | 15.48 | 16.4 | 16.65 | 16.98 | 16.34 | 15.63 | 16.9 | 16.51 | 16.21 | 16.63 | 16.18 | 16.07 | 15.44 | 16.36 | 16.09 | 14.81 | 16.02 | 16.07 | 16.91 | 16.89 | 15.1 | 16.23 | 16.81 | 15.6 | 13.88 | 15.51 | 16.28 | 16.12 | 16.54 | 15.68 | 14.53 | 15.48 | 16.03 | 15.57 | 14.86 | 14.93 | 15.31 | 15.97 | 16.27 | 15.61 | 15.15 | 15.8 | 15.55 | 15.67 | 15.62 | 14.65 | 15.66 | 15.44 | 15.92 | 16.05 | 14.04 | 15.69 | 15.05 | 15.18 | 15.7
19 | 317.57 | 15.76 | 15.25 | 15.91 | 16.43 | 15.8 | 14.7 | 16.24 | 16.47 | 16.61 | 16 | 15.2 | 15.12 | 15.63 | 15.97 | 16.72 | 15.58 | 16.48 | 17.14 | 16.85 | 16.37 | 15.75 | 16.57 | 16.55 | 16.22 | 16.73 | 16 | 16.4 | 15.35 | 15.93 | 15.79 | 14.8 | 15.98 | 16.1 | 16.63 | 16.63 | 15.48 | 16 | 16.54 | 15.94 | 13.91 | 15.37 | 16.63 | 15.91 | 16.71 | 15.6 | 15.04 | 15.59 | 15.65 | 15.4 | 15.23 | 14.86 | 15.17 | 15.96 | 16.54 | 15.8 | 14.88 | 15.47 | 15.55 | 15.66 | 15.79 | 15.5 | 15.56 | 16.05 | 15.44 | 16 | 14.17 | 15.39 | 15.24 | 15.63 | 15.5
20 | 335.21 | 15.61 | 15.6 | 15.63 | 16 | 15.43 | 15 | 16.19 | 16.19 | 16.44 | 16.05 | 14.9 | 15.24 | 15.75 | 15.91 | 16.58 | 15.25 | 16.18 | 16.73 | 16.93 | 16.4 | 15.78 | 17.23 | 16.47 | 16.25 | 16.95 | 15.98 | 16.44 | 15.47 | 16.09 | 16.09 | 14.48 | 16.15 | 16.13 | 16.37 | 16.53 | 15.27 | 15.97 | 16.56 | 16.01 | 13.75 | 15.41 | 16.34 | 16.29 | 16.82 | 15.53 | 15.03 | 15.49 | 15.76 | 15.41 | 14.87 | 14.9 | 15.24 | 15.98 | 16.72 | 15.49 | 15.32 | 15.75 | 15.86 | 15.38 | 15.58 | 15.16 | 16.1 | 15.7 | 15.66 | 16.28 | 14.21 | 15.3 | 15.11 | 15.69 | 15.32
Autoloading range A1 - BU32

## Result summary
Results summary
No results

## General information
General information
| Software version | SkanIt Software 6.0.2 for Microplate Readers RE, ver. 6.0.2.3
| Optical response compensation | Yes

## Session information
Session information
| Session name | TMRM_students1.skax
Session notes
| Software version | SkanIt Software for Microplate Readers RE, ver. 6.0.2.3
| Execution time | 04/06/2024 18.51.20
| User | PC-VARIOSCAN\utente

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Serial number |  | 3020-80266
Instrument modules
Filter
|  | Name | emission filter
|  | Position | 1
|  | Wavelength | 460
|  | Bandwidth | 40
|  | Date and time of definition | 25/11/2019 10.38.00
Filter
|  | Name | emission filter2
|  | Position | 2
|  | Wavelength | 610
|  | Bandwidth | 60
|  | Date and time of definition | 25/11/2019 10.38.00
Filter
|  | Name | prova
|  | Position | 3
|  | Wavelength | 500
|  | Bandwidth | 10
|  | Date and time of definition | 03/06/2021 15.06.00
Filter
|  | Name | prova2
|  | Position | 4
|  | Wavelength | 500
|  | Bandwidth | 10
|  | Date and time of definition | 03/06/2021 15.07.00
|  | Module's name | LAT module
|  | Module's serial number | LL1942807
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order |  | 3
| Use settle delay |  | No
| Check temperature at start [°C] |  | No
Succinate
| No. of readings |  | 30
| Kinetic Interval [hh:mm:ss] |  | 00:00:02
Fluorescence 1
Wavelengths
|  |  |  | Excitation [nm] | 548
|  |  |  | Emission [nm] | 573
|  |  | Optics |  | Top
|  |  | Excitation bandwidth [nm] |  | 12
|  |  | Dynamic Range |  | Automatic
|  |  | Measurement Time [ms] |  | 100
Plate Out 2
Pause 2
| Continuation |  | User action
Message
Plate In 2
CCCP
| No. of readings |  | 20
| Kinetic Interval [hh:mm:ss] |  | 00:00:02
Fluorescence 2
Wavelengths
|  |  |  | Excitation [nm] | 548
|  |  |  | Emission [nm] | 573
|  |  | Optics |  | Top
|  |  | Excitation bandwidth [nm] |  | 12
|  |  | Dynamic Range |  | Automatic
|  |  | Measurement Time [ms] |  | 100

## Run log
Run log
| Time | Event | Information
| 04/06/2024 18.51.20 | Session TMRM_students1.skax started
| 04/06/2024 18.51.20 | Temperature | 27,5°C
| 04/06/2024 18.51.20 | Step Succinate started
| 04/06/2024 18.51.20 | Step Fluorescence 1 started
| 04/06/2024 18.51.21 | Kinetic reading changed | Reading: 1 No. of readings: 30
| 04/06/2024 18.51.39 | Kinetic reading changed | Reading: 2 No. of readings: 30
| 04/06/2024 18.51.40 | Temperature | 27,5°C
| 04/06/2024 18.51.56 | Kinetic reading changed | Reading: 3 No. of readings: 30
| 04/06/2024 18.52.14 | Kinetic reading changed | Reading: 4 No. of readings: 30
| 04/06/2024 18.52.31 | Kinetic reading changed | Reading: 5 No. of readings: 30
| 04/06/2024 18.52.40 | Temperature | 27,5°C
| 04/06/2024 18.52.49 | Kinetic reading changed | Reading: 6 No. of readings: 30
| 04/06/2024 18.53.07 | Kinetic reading changed | Reading: 7 No. of readings: 30
| 04/06/2024 18.53.24 | Kinetic reading changed | Reading: 8 No. of readings: 30
| 04/06/2024 18.53.40 | Temperature | 27,5°C
| 04/06/2024 18.53.42 | Kinetic reading changed | Reading: 9 No. of readings: 30
| 04/06/2024 18.54.00 | Kinetic reading changed | Reading: 10 No. of readings: 30
| 04/06/2024 18.54.17 | Kinetic reading changed | Reading: 11 No. of readings: 30
| 04/06/2024 18.54.35 | Kinetic reading changed | Reading: 12 No. of readings: 30
| 04/06/2024 18.54.40 | Temperature | 27,5°C
| 04/06/2024 18.54.53 | Kinetic reading changed | Reading: 13 No. of readings: 30
| 04/06/2024 18.55.10 | Kinetic reading changed | Reading: 14 No. of readings: 30
| 04/06/2024 18.55.28 | Kinetic reading changed | Reading: 15 No. of readings: 30
| 04/06/2024 18.55.40 | Temperature | 27,5°C
| 04/06/2024 18.55.46 | Kinetic reading changed | Reading: 16 No. of readings: 30
| 04/06/2024 18.56.03 | Kinetic reading changed | Reading: 17 No. of readings: 30
| 04/06/2024 18.56.21 | Kinetic reading changed | Reading: 18 No. of readings: 30
| 04/06/2024 18.56.38 | Kinetic reading changed | Reading: 19 No. of readings: 30
| 04/06/2024 18.56.40 | Temperature | 27,5°C
| 04/06/2024 18.56.56 | Kinetic reading changed | Reading: 20 No. of readings: 30
| 04/06/2024 18.57.14 | Kinetic reading changed | Reading: 21 No. of readings: 30
| 04/06/2024 18.57.31 | Kinetic reading changed | Reading: 22 No. of readings: 30
| 04/06/2024 18.57.40 | Temperature | 27,5°C
| 04/06/2024 18.57.49 | Kinetic reading changed | Reading: 23 No. of readings: 30
| 04/06/2024 18.58.07 | Kinetic reading changed | Reading: 24 No. of readings: 30
| 04/06/2024 18.58.24 | Kinetic reading changed | Reading: 25 No. of readings: 30
| 04/06/2024 18.58.40 | Temperature | 27,5°C
| 04/06/2024 18.58.42 | Kinetic reading changed | Reading: 26 No. of readings: 30
| 04/06/2024 18.59.00 | Kinetic reading changed | Reading: 27 No. of readings: 30
| 04/06/2024 18.59.17 | Kinetic reading changed | Reading: 28 No. of readings: 30
| 04/06/2024 18.59.35 | Kinetic reading changed | Reading: 29 No. of readings: 30
| 04/06/2024 18.59.40 | Temperature | 27,5°C
| 04/06/2024 18.59.53 | Kinetic reading changed | Reading: 30 No. of readings: 30
| 04/06/2024 19.00.09 | Instrument Warning | 3020-80266: Warning 103: Unable to comply with the defined kinetic interval.
| 04/06/2024 19.00.09 | Step Fluorescence 1 ended
| 04/06/2024 19.00.09 | Step Succinate ended
| 04/06/2024 19.00.10 | Step Plate Out 2 started
| 04/06/2024 19.00.17 | Step Plate Out 2 ended
| 04/06/2024 19.00.17 | Step Pause 2 started
| 04/06/2024 19.00.40 | Temperature | 27,5°C
| 04/06/2024 19.01.40 | Temperature | 27,5°C
| 04/06/2024 19.01.57 | Step Pause 2 ended
| 04/06/2024 19.01.57 | Step Plate In 2 started
| 04/06/2024 19.02.10 | Step Plate In 2 ended
| 04/06/2024 19.02.10 | Step CCCP started
| 04/06/2024 19.02.10 | Step Fluorescence 2 started
| 04/06/2024 19.02.15 | Calibration | Fluorometric 1.40164 687940
| 04/06/2024 19.02.16 | Kinetic reading changed | Reading: 1 No. of readings: 20
| 04/06/2024 19.02.34 | Kinetic reading changed | Reading: 2 No. of readings: 20
| 04/06/2024 19.02.40 | Temperature | 27,5°C
| 04/06/2024 19.02.51 | Kinetic reading changed | Reading: 3 No. of readings: 20
| 04/06/2024 19.03.09 | Kinetic reading changed | Reading: 4 No. of readings: 20
| 04/06/2024 19.03.27 | Kinetic reading changed | Reading: 5 No. of readings: 20
| 04/06/2024 19.03.40 | Temperature | 27,5°C
| 04/06/2024 19.03.44 | Kinetic reading changed | Reading: 6 No. of readings: 20
| 04/06/2024 19.04.02 | Kinetic reading changed | Reading: 7 No. of readings: 20
| 04/06/2024 19.04.20 | Kinetic reading changed | Reading: 8 No. of readings: 20
| 04/06/2024 19.04.37 | Kinetic reading changed | Reading: 9 No. of readings: 20
| 04/06/2024 19.04.40 | Temperature | 27,5°C
| 04/06/2024 19.04.55 | Kinetic reading changed | Reading: 10 No. of readings: 20
| 04/06/2024 19.05.12 | Kinetic reading changed | Reading: 11 No. of readings: 20
| 04/06/2024 19.05.30 | Kinetic reading changed | Reading: 12 No. of readings: 20
| 04/06/2024 19.05.40 | Temperature | 27,5°C
| 04/06/2024 19.05.48 | Kinetic reading changed | Reading: 13 No. of readings: 20
| 04/06/2024 19.06.05 | Kinetic reading changed | Reading: 14 No. of readings: 20
| 04/06/2024 19.06.23 | Kinetic reading changed | Reading: 15 No. of readings: 20
| 04/06/2024 19.06.40 | Temperature | 27,5°C
| 04/06/2024 19.06.41 | Kinetic reading changed | Reading: 16 No. of readings: 20
| 04/06/2024 19.06.58 | Kinetic reading changed | Reading: 17 No. of readings: 20
| 04/06/2024 19.07.16 | Kinetic reading changed | Reading: 18 No. of readings: 20
| 04/06/2024 19.07.34 | Kinetic reading changed | Reading: 19 No. of readings: 20
| 04/06/2024 19.07.40 | Temperature | 27,5°C
| 04/06/2024 19.07.51 | Kinetic reading changed | Reading: 20 No. of readings: 20
| 04/06/2024 19.08.08 | Step Fluorescence 2 ended
| 04/06/2024 19.08.08 | Instrument Warning | 3020-80266: Warning 103: Unable to comply with the defined kinetic interval.
| 04/06/2024 19.08.08 | Step CCCP ended
| 04/06/2024 19.08.08 | Temperature | 27,5°C
| 04/06/2024 19.08.13 | Session TMRM_students1.skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Un0001 | Un0008 | Un0015 | Un0022 | Un0029 | Un0036 | Un0043 | Un0050 | Un0057 | Un0064
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
B | Un0002 | Un0009 | Un0016 | Un0023 | Un0030 | Un0037 | Un0044 | Un0051 | Un0058 | Un0065
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
C | Un0003 | Un0010 | Un0017 | Un0024 | Un0031 | Un0038 | Un0045 | Un0052 | Un0059 | Un0066
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
D | Un0004 | Un0011 | Un0018 | Un0025 | Un0032 | Un0039 | Un0046 | Un0053 | Un0060 | Un0067
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
E | Un0005 | Un0012 | Un0019 | Un0026 | Un0033 | Un0040 | Un0047 | Un0054 | Un0061 | Un0068
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
F | Un0006 | Un0013 | Un0020 | Un0027 | Un0034 | Un0041 | Un0048 | Un0055 | Un0062 | Un0069
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
G | Un0007 | Un0014 | Un0021 | Un0028 | Un0035 | Un0042 | Un0049 | Un0056 | Un0063 | Un0070
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
H